## Slide 1: ISMRM 2013 Abstracts Work
Mathieu Boudreau
October 28th 2013
Biomedical Engineering Dept.
Committee:
Prof. Bruce Pike - Supervisor
Prof. Robert Funnell - Chair’s representative
Dr. Douglas Arnold - External member

## Slide 2: Part 1: Rapid B1 Mapping – Are Novel Methods Better?

## Slide 3: Overview of previous related work

## Slide 4: Rapid B1 Mapping Techniques Comparison
Quantitative MT techniques have been moving from 2D to 3D recently
This requires faster B1 and T1 mapping methods to acquire whole-brain data in a reasonable acquisition time

## Slide 5: Rapid B1 Mapping Techniques Comparison
Conventional Double Angle 4m38 s/slice
Bloch-Siegert (single slice) 18 s/slice
AFI (3D) 11 s/slice
EPI Double Angle (EPI Factor 9) 5 s/slice
(interleaved multi-slice)

## Slide 6: Basics of Double Angle B1 Mapping
Magnitude based method
Requires magnetization to be fully relaxed before each acquisition – very long TR
Timing diagram of the spin echo DA pulse sequence

## Slide 7: Basics of Bloch-Siegert B1 Mapping
Phase-based method
B1 calculated through a subtraction of the phase of two measurements
Timing diagram of the BS pulse sequence
Sacolick, L. , Magn. Res. Med. (2010)

## Slide 8: Basics of AFI B1 Mapping
Magnitude, steady-state based method
Assumes completely spoiled transverse magnetization at the end of both TRs
Timing diagram of the AFI pulse sequence
Yarnykh, V. , Magn. Res. Med. (2007)

## Slide 9: Rapid B1 Mapping Techniques Comparison
Goal: Evaluate the VFA T1 maps produced using the 4 B1 mapping methods (DA, AFI, BS, EPI-DA)
The maps were WM mask using INSECT tissue classification on 1 x 1 x 1 mm3 T1w data
  Then resampled to 2 x 2 x 5 mm3 using a majority voting method
6 subjects (4 currently processed)

## Slide 10: Subject 1 (2 x 2 x 5 mm3)

## Slide 11: Subject 2 (2 x 2 x 5 mm3)

## Slide 12: Subject 3 (2 x 2 x 5 mm3)

## Slide 13: Subject 4 (2 x 2 x 5 mm3)

## Slide 14: Sagittal Comparison (Subject 5) (2 x 2 x 5 mm3)
Conventional
Double Angle
EPI
Double Angle

## Slide 15: T1 Analysis (pooled 4 subjects)
B1 Method | T1 Method | T1 (ms)
n/a | IR | 915 ±151
DA | VFA | 978 ±89
BS |  | 961 ±110
AFI |  | 991 ±97
EPI-DA |  | 947 ±88

## Slide 16: T1 Analysis (pooled 4 subjects)

## Slide 17: T1 Analysis (pooled 4 subjects)

## Slide 18: T1 Analysis (pooled 4 subjects)

## Slide 19: Discussion
Sacolick, L. , Magn. Res. Med. (2010)

## Slide 20: Sagittal Comparison (Subject 5)
Conventional
Double Angle
EPI
Double Angle

## Slide 21: Discussion
Yarnykh, V. , Mag. Res. Med. (2007)

## Slide 22: Discussion
Double Angle (and all methods) could be further accelerated through undersampling k-space (partial fourier, parallel imaging, compressed sensing, etc.)
B1 is expected to be a smoothly varying function in the brain, and good practice would be to smooth or interpolate B1 maps.
Are we gaining anything by using novel B1 methods?

## Slide 23: Part 2: Evaluation of Different B1 and T1 Mapping Techniques on Quantitative Magnetization Transfer Imaging

## Slide 24: Overview of previous related work

## Slide 25: Overview of previous related work

## Slide 26: B1/T1/qMT Comparison
qMT Requires B0, B1 and T1 maps for accurate parameter fitting.
To scan whole-brain qMT maps in a reasonable scan time, must change B1 and T1 techniques (old B1 – Double Angle, old T1 – Look-Locker)

## Slide 27: B1/T1/qMT Comparison
Last year – simulated effects of varying measured T1 on fixed qMT tissue parameters

## Slide 28: B1/T1/qMT Comparison
Acquired 3 B1 maps (DA, AFI, Bloch-Sieg)
Acquired 3 T1 maps (IR, LL, VFA)
Acquired 2 qMT acquisition protocols (10p Optimized, 10p UK)
Fit qMT maps for all B1, T1, qMT protocol combinations
6 subjects (4 currently processed)

## Slide 29: T1 = IR, B1 = DA, 10 Point Optimal qMT Single Subject (2 x 2 x 5 mm3)

## Slide 30: T1 = IR, 10 Point Optimal qMT B1 Comparison (pooled 4 subjects)

## Slide 31: T1 = IR, 10 Point UK qMT B1 Comparison (pooled 4 subjects)

## Slide 32: B1 = Double Angle, 10 Point Optimal qMT T1 Comparison (pooled 4 subjects)

## Slide 33: B1 = Double Angle, 10 Point UK qMT T1 Comparison (pooled 4 subjects)

## Slide 34: Discussion
All tested B1 methods have no significant effects on fitted qMT parameters.
F, kf and T2f fitted with VFA (T1 overestimation relative to IR) deviate less from IR than LL.
  But results in sharper histogram distributions than might physiologically occurs
  Scaling VFA T1 to IR T1 may provide be a good compromise, but has yet to be tested