## Slide 1: Analysis of B1-sensitivity of qMT parameters when using two different T1 methods
Mathieu Boudreau
MRIL Lab Meeting
September 29th 2014

## Slide 2: Hydrogen in myelin can’t be directly measure with MRI

## Slide 3: 2-Pool Magnetization Transfer Model

## Slide 4: Prepare magnetization using off-resonance saturation

## Slide 7: 5 Fitted parameters
F – pool size ratio (correlates with myelin density)
kf – Magnetization transfer exchange rate
T2r – T2 of restricted pool
T2F – T2 of free pool
T1F – T1 of free pool
(T1R always set to 1, model not sensitive to this parameter)
qMT processing code: www.github.com/sharktank-bic/qMTLab/

## Slide 8: Measurements
11 qMT measurements
  1 MT off
  10 MT point design (e.g. UK,2 MT angles, 5 logarithmic off-resonance frequencies)
B0 – For off resonance frequency correction
B1 – For MT and excitation pulse correction
T1 – Additional measurement to further constrain the MT mathematical model

## Slide 9: Measurements
But T1 measurements can depend on B1
B1 independent
  Inversion recovery
  Look-Locker (can be)
B1 dependent
  Variable Flip Angle/DESPOT1
Levesque I., MRM, 2010

## Slide 10: B1 error propagation pathways

## Slide 11: Questions
How do qMT fitted parameter (F, kf) behave when B1 errors occur when using:
  IR: B1 independent T1 method
  VFA: B1 dependent T1 method
Does this relationship hold in vivo (noise, range of tissue MR parameters, etc.)
Does it hold for abnormal tissue parameters (e.g. MS lesions).

## Slide 12: Stage 1: Simulations
UK qMT protocol
Healthy WM tissue parameter
True T1 = 900 ms
True B1 = 1 (n.u.).

## Slide 16
B1 error (n.u.)
T1 (s) error (true value 0.9)
Fitted qMT F error %

## Slide 17
B1 error
T1 (s) error (true value 0.9)
Fitted qMT F error %

## Slide 18
Simulated qMT F % error vs B1 errors using VFA (blue) T1 maps and fixed T1 value (such as IR) (red)
B1 error
Error % of fitted qMT F

## Slide 19
Simulated qMT F % error vs B1 errors using VFA (blue) T1 maps and fixed T1 value (such as IR) (red)
B1 error
Error % of fitted qMT F

## Slide 20
Error % of fitted qMT F

## Slide 21: Fit root mean square error

## Slide 22
B1 error
T1 (s) error (true value 0.9)
Fitted qMT kf error %

## Slide 23
B1 error
T1 (s) error (true value 0.9)

## Slide 24
Error % of fitted qMT kf

## Slide 25
Error % of fitted qMT kf

## Slide 26: Noise simulations
Omited

## Slide 27: Stage 2: In vivo, Normal Subjects
3 Healthy subjects
Single Slice
T1: IR and VFA
qMT: UK and Opt

## Slide 28: B1 error propogation

## Slide 29: Opt qMT protocol

## Slide 30
IR+(B1=DA)
IR+(B1=1)
qMT F map
% Difference
Opt qMT protocol

## Slide 31: VFA
IR
Error % in qMT F (UK Protocol)
*Scale bar changed from last slides

## Slide 32: B1 % error in brain (relative to nominal FA, i.e. B1=1)
B1 % error

## Slide 33: Error % in qMT F between B1=Measured and B1=1 (flat/nominal) (UK Protocol, 1 subject)
Red- VFA
Blue - IR

## Slide 34: Error % in qMT F between B1=Measured and B1=1 (flat/nominal) (Opt protocol for green and black, 1 subject)
Green- VFA
Black - IR

## Slide 35: Error % in qMT F between B1=Measured and B1=1 (flat/nominal) (UK Protocol for red and blue*, 1 subject)
*Green –VFA & Opt 10 pt qMT protocol

## Slide 36
Figure 3. Linear regression analysis of the voxelwise qMT F parameter, comparing measured DA B1 and a range of flat B1 (VFA T1, blue; IR T1, red).
Opt qMT protocol

## Slide 37
Simulated WM F % error
In Vivo Whole-Brain F
B1 error
Opt qMT protocol
UK qMT protocol

## Slide 38
VFA | IR
B1 measured vs. B1 flat = 0.5
qMT F parameter comparison

## Slide 39
VFA | IR
B1 measured vs. B1 flat = 0.75
qMT F parameter comparison

## Slide 40
VFA | IR
B1 measured vs. B1 flat = 0.9
qMT F parameter comparison

## Slide 41
VFA | IR
B1 measured vs. B1 flat = 1
qMT F parameter comparison

## Slide 42
VFA | IR
B1 measured vs. B1 flat = 1.1
qMT F parameter comparison

## Slide 43
VFA | IR
B1 measured vs. B1 flat = 1.25
qMT F parameter comparison

## Slide 44
VFA | IR
B1 measured vs. B1 flat = 1.5
qMT F parameter comparison

## Slide 45
VFA | IR
B1 measured vs. B1 flat = 2
qMT F parameter comparison

## Slide 47: Stage 3: MS Patient
3D data already acquired for another study at 3T
Am I allowed to use this data? Which ethics form was used?
To process with B1 flat+lesion masks

## Slide 48: Relapse Remitting MS Patient
To do with B1=1 (flat) + lesion masks